## Comm
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
Conduit | [6 empty] | E-COMM-COND
Feature Type = Line | Creation_User | contractor company name | Text | 50
| DIAMETER | conduit diameter (in inches) | Double
| COMMENTS | additional details | Text | 100
| MATERIAL | construction material from domain list | Long Integer |  | ConduitMaterial
| SUBTYPECODE | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Telecom_Conduit_Subtype
| Source | Port AA project number and sheet reference | Text | 100
| ConduitSystem | describes # and size of conduits and if spare or not | Text | 250
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
CopperCable | [6 empty] | E-CABL-COPP
Feature Type = Line | Creation_User | contractor company name | Text | 50
| DIAMETER | conduit diameter (in inches) | Double
| COMMENTS | additional details | Text | 100
| SUBTYPECODE | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Telecom_Copper_Cable_Subtype
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
FiberCable | [6 empty] | E-CABL-FIBR
Feature Type = Line | Creation_User | contractor company name | Text | 50
| DIAMETER | conduit diameter (in inches) | Double
| COMMENTS | additional details | Text | 100
| SUBTYPECODE | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Fiber_Cable_Subtype
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
FireAlarmLines | [6 empty] | F-PROT-CIRC
Feature Type = Line | Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Creation_User | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
FireAlarmPoints | [6 empty] | F-PROT-ALRM-INDC
Feature Type = Point | Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Creation_User | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
Pole | [6 empty] | E-COMM-POLE
Feature Type = Point | Creation_User | contractor company name | Text | 50
| OWNER | owner of the pole | Text | 20
| COMMENTS | additional details | Text | 100
| SUBTYPECODE | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Telecom_Pole_Subtype
| Port_ID | ID number on pole | Text | 100
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
SpliceClosure | [6 empty] | E-COMM-JBOX
Feature Type = Point | Creation_User | contractor company name | Text | 50
| COMMENTS | additional details | Text | 100
| PedestalType | pedestal type from domain list | Text | 50 | PedestalType
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
Structure | [6 empty] | E-COMM-STRC
Feature Type = Point | Creation_User | contractor company name | Text | 50
| COMMENTS | additional details | Text | 100
| SUBTYPECODE | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Telecom_Structure_Subtype
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| Port_ID | ID number on structure | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| MATERIAL | construction material | Text | 20
| DATECREATED | date contractor added new feature (today) | Date | 10
Terminal | [6 empty] | E-COMM-TERM
Feature Type = Point | Creation_User | contractor company name | Text | 50
| COMMENTS | additional details | Text | 100
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| TERMINALTYPE | terminal type from domain list | Long Integer |  | TerminalType
| NUMOFPAIRS | enter number of pairs | Long Integer
| NAME | descriptive name of feature | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10

## Gas
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
FuelLine | [6 empty] | U-NGAS-FUEL-PIPE
Feature Type = Line | TYPE | Type of fuel line | Text | 60
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Status | construction status from domain list | Text | 50 | Gas Facility Status
| Owner | owner of the feature | Text | 50
| Creation_User | contractor company name | Text | 50
| Diameter | diameter (in inches) | Short
| Comments | additional details | Text | 100
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
GasValve | [6 empty] | U-NGAS-INST-VALV
Feature Type = Point | Status | construction status from domain list | Text | 20 | Gas Facility Status
| Comments | additional details | Text | 100
| Material | construction material from domain list | Text | 10 | Gas Valve Material
| Diameter | diameter (in inches) from domain list | Double |  | Gas Valve Diameter
| ValveType | valve type from domain list | Text | 20 | Gas Valve Type
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Creation_User | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| OWNER | owner of the feature | Text | 20
| ANSIPressureRating | pressure rating from domain list | Text | 20 | Gas Valve Rating
| MANUFACTURER | manufacturer from domain list | Text | 20 | Gas Valve Manufacturer
| MODEL | model name and number | Text | 20
| DATECREATED | date contractor added new feature (today) | Date | 10
Mains | [6 empty] | U-NGAS-MAIN-PIPE
Feature Type = Line | Status | construction status from domain list | Text | 20 | Gas Facility Status
| PipeType | pipe type from domain list | Text | 20 | Pipe Type
| Diameter | diameter | Double
| Owner | owner of the feature | Text | 20
| Material | construction material | Long Integer |  |  | Gas_Mains_Subtype
| MainType | main type from domain list | Text | 20 | MainsType
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Creation_User | contractor company name | Text | 50
| Label | descriptive label | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DIAMETERUNITS | indicate units of diameter measurement | Text | 20
| OPERATINGPRESSURE | enter number for operating pressure | Double
| DATECREATED | date contractor added new feature (today) | Date | 10
Meter | [6 empty] | U-NGAS-INST-METR
Feature Type = Point | Diameter | diameter (in inches) | Text | 100
| Material | construction material | Text | 100
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Comments | additional details | Text | 100
| Creation_User | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| Status | construction status from domain list | Text | 20 | Gas Facility Status
| DATECREATED | date contractor added new feature (today) | Date | 10
PipelineMarker | [6 empty] | U-NGAS-SIGN
Feature Type = Point | Owner | owner of the feature | Text | 20
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Comments | additional details | Text | 100
| Creation_User | contractor company name | Text | 50
| Status | construction status from domain list | Text | 20 | Gas Facility Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
Service | [6 empty] | U-NGAS-SERV-PIPE
Feature Type = Line | Status | construction status from domain list | Text | 20 | Gas Facility Status
| Diameter | diameter (in inches) | Double
| Owner | owner of the feature | Text | 20
| SubtypeCD | used for data symbology, must select a valid subtype from the list | Long Integer |  |  | Gas_Service_Subtype
| Material | construction material from domain list | 20 | 20 | Gas Pipe Service Material
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| Creation_User | contractor company name | Text | 50
| Label | descriptive label | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| PIPETYPE | pipe type from domain list | Text | 20 | Pipe Type
| OPERATINGPRESSURE | enter number for operating pressure | Double
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10

## Storm
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
swCappedLinePt | [6 empty] | C-STRM-CAPL-PIPE
Feature Type = Point | Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| CREATIONUSER | contractor company name | Text | 50
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
swCleanout | [6 empty] | C-STRM-FTTG
Feature Type = Point | ACCESSDIAM | Access diameter from domain list | Double |  | piAccessDiameter
| ACCESSMAT | pipe material from domain list | Text | 20 | piPipeMaterial
| ACCESSTYPE | access type from domain list | Text | 20 | piAccessType
| DEVICETYPE | clean out type from domain list | Text | 30 | piCleanoutTypes
| Source | Port AA project number and sheet reference | Text | 100
| Inlet_Elev | Cleanout elevation | Double
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| RetiredDate | enter date if feature is being abandoned | Date
| CREATIONUSER | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
swControlValve | [6 empty] | C-STRM-INST-CTRL
Feature Type = Point | VALVETYPE | valve type from domail list | Text | 30 | piControlValveType
| SOURCE | Port AA project number and sheet reference |  | 100
| SOURCE_TYPE | describes format data came from (CAD, GPS, digitized from paper) |  | 100
| New_Exist | enter default value of New |  | 100
| CREATIONUSER | contractor company name |  | 50
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| DIAMETER | valve diameter from domail | Double |  | piPipeDiameter
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| DATECREATED | date contractor added new feature (today) | Date | 10
swDischargePoint | [6 empty] | C-STRM-DISC
Feature Type = Point | DISCHRGTYP | discharge type form domain list | Text | 50 | piDiscahrgePointType
| Source | Port AA project number and sheet reference | Text | 50
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 50
| New_Exist | enter default value of New | Text | 50
| CREATIONUSER | contractor company name | Text | 50
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| PEAKDISCH | peak discharge rate | Text | 10
| DIAMETER | diameter from domail | Double |  | piPipeDiameter
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
swGravityMain | [6 empty] | C-STRM-MAIN-PIPE
Feature Type = Line | MATERIAL | construction material from domain list | Text | 20 | piPipeMaterial
| DIAMETER | diameter from domail | Double
| DOWNELEV | lower elevation of pipe segment | Double
| UPELEV | upper elevation of pipe segment | Double
| SLOPE | slope of pipe segment | Double
| Source | Port AA project number and sheet reference | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| RetiredDate | enter date if feature is being abandoned | Date
| CREATIONUSER | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| LINEDYEAR | year pipe segment was lined | Text | 4
| LINERTYPE | liner type from domain list | Text | 20 | piLiningMethod
| FROMMH | from manhole | Text | 11
| TOMH | to manhole | Text | 11
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
swInlet | [6 empty] | C-STRM-INLT
Feature Type = Point | INLETTYPE | inlet type from domain list | Text | 50 | piInletTypes
| ACCESSDIAM | Access diameter from domain list | Double
| INVERTELEV | invert elevation | Double
| ACCESSMAT | pipe material from domain list | Text | 20 | piPipeMaterial
| ACCESSTYPE | access type from domain list | Text | 20 | piAccessType
| Source | construction status from domain list | Text | 100
| Inlet_Elev | inlet elevation | Double
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| RetiredDate | enter date if feature is being abandoned | Date
| CREATIONUSER | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENT | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
swManhole | [6 empty] | C-STRM-MHOL
Feature Type = Point | INVERTELEV | invert elevation | Double
| INVERT | invert | Double
| RIMELEV | rim elevation | Double
| CVTYPE | cover type from domain list | Text | 50 | piManholeCoverType
| WALLMAT | wall material from domain list | Text | 25 | piPipeMaterial
| Source | construction status from domain list | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| RetiredDate | enter date if feature is being abandoned | Date
| CREATIONUSER | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| MHTYPE | manhole type from domain list | Text | 15 | piManholeType
| CONDITION | manhole condition from domain list | Text | 10 | Condition
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENTS | additional details | Text | 100
| DATECREATED | date contractor added new feature (today) | Date | 10
swOpenDrain | [6 empty] | C-STRM-MAIN-PIPE
Feature Type = Line | BOTWIDTH | bottom width of open drain | Double
| BEDMATERIAL | bed material from domain list | Text | 50 | piPipeMaterial
| SIDEMATERIAL | side material from domain list | Text | 50 | piPipeMaterial
| LEFTSLOPE | left slope | Double
| RIGHTSLOPE | right slope | Double
| UPTOP | uptop | Double
| DWNTOP | down top | Double
| Source | construction status from domain list | Text | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | Text | 100
| New_Exist | enter default value of New | Text | 100
| STATUS | construction status from domain list | Long Integer |  | Construction Status
| RetiredDate | enter date if feature is being abandoned | Date
| CREATIONUSER | contractor company name | Text | 50
| Confidence_Level | SUE quality level (QL-A - QL-D) | Text | 50
| TOPWIDTH | top width of open drain | Double
| DEPTH | depth of open drain | Double
| OWNEDBY | asset owner from domain list | Short Integer |  | AssetOwner
| COMMENT | additional details | Text | 50
| DATECREATED | date contractor added new feature (today) | Date | 10

## Electric
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
ConduitSystem | [6 empty] | E-POWR-CNDT
Feature Type = Line | CREATIONUSER | contractor company name | String | 50 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Electical_ConduitSystem_Subtype
| CONFIGURATION | conduit configuration | Blob | 0 | null
| BURIEDDEPTH | depth conduit is burried | String | 20 | null
| ENCASEMENTTYPE | encassment type from domain list | String | 5 | ULS Encasement Type
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| CONDUITTYPE | conduit type from domain list | String | 3 | Conduit Type
| COMMENTS | additional details | String | 255 | null
| CONDUITSIZE | size of conduit | String | 3 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| ConduitSystem | describes # and size of conduits and if spare or not | String | 250 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | sheet on as-built drawings that the feature appears | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
ElectricStation | [6 empty] | E-POWR-DEVC-STAT
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| OWNER | asset owner from domain list | String | 20 | Owner
| STATIONNUMBER | Electric station number | String | 20 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Electric_Station_Subtype
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| In_Voltage | voltage into station | String | 100 | null
| Out_Voltage | voltage out of station | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
Footprint | Poly | [5 empty] | E-POWR-FTPT
Feature Type = Polygon | Struct_Type | type of structure | String | 100 | null
| Struct_Name | name of structure | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| DATECREATED | date contractor added new feature (today) | Date | 8
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
Ground_Rod | Pioint | [5 empty] | E-POWR-DEVC-GRND
Feature Type = Point | SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| DATECREATED | date contractor added new feature (today) | Date | 8
| Comments | additional details | Text | 100
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
Light | [6 empty] | E-LITE-EXTR
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| ITEM_TYPE_CD | item type from domain list | String | 8 | ITEM_TYPE_CD
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Secondary Operating Voltage
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
PriOH |  | Primary overhead electrical line |  |  |  |  | E-PRIM-OVHD
Feature Type = Line | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Electric Line Voltage
| NEUTRALMATERIAL | neutral material from domain list | String | 5 | Neutral Material
| NEUTRALSIZE | neutral size from domain list | String | 5 | Neutral Size
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Primary_Overhead_Subtype
| CONDUCTORCONFIGURATION | configuration from domain list | String | 5 | Conductor Configuration
| CABLECOUNT | cable count | Integer | 4 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
PriUG |  | Primary undreground electrical line |  |  |  |  | E-PRIM-UGND
Feature Type = Line | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Electric Line Voltage
| NEUTRALMATERIAL | neutral material from domain list | String | 5 | Neutral Material
| NEUTRALSIZE | neutral size from domain list | String | 5 | Neutral Size
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Primary_Underground_Subtype
| BACKFILLMATERIAL | backfill material from domain list | String | 5 | Backfill Material
| BURIEDDEPTH | burried depth | Double | 8 | null
| CABLECOUNT | cable count | Integer | 4 | Cable Count
| CONDUITSIZE | conduit size | String | 3 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| ConduitSystem | describes # and size of conduits and if spare or not | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
Reefer_Outlet_Assembly | Point | [5 empty] | E-POWR-EQPM-ASSY
Feature Type = Point | Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Comments | additional details | String | 240 | null
| CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| DATECREATED | date contractor added new feature (today) | Date | 8
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
SecOH |  | Secondary overhead electrical line |  |  |  |  | E-SECD-OVHD
Feature Type = Line | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Electric Line Voltage
| NEUTRALMATERIAL | neutral material from domain list | String | 5 | Neutral Material
| NEUTRALSIZE | neutral size from domain list | String | 5 | Neutral Size
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Secondary_Overhead_Subtype
| CONDUCTORCONFIGURATION | configuration from domain list | String | 5 | Conductor Configuration
| CABLECOUNT | cable count | Integer | 4 | null
| CONDUCTORTYPE | conductor type from domain list | String | 5 | Conductor Type
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
SecUG |  | Secondary underground electrical line |  |  |  |  | E-SECD-UGND
Feature Type = Line | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Electric Line Voltage
| NEUTRALMATERIAL | neutral material from domain list | String | 5 | Neutral Material
| NEUTRALSIZE | neutral size from domain list | String | 5 | Neutral Size
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Secondary_Underground_Subtype
| BACKFILLMATERIAL | backfill material from domain list | String | 5 | Backfill Material
| BURIEDDEPTH | burried depth | Double | 8 | null
| CABLECOUNT | cable count | Integer | 4 | Cable Count
| CONDUITSIZE | conduit size | String | 3 | null
| CONDUCTORTYPE | conductor type from domain list | String | 5 | Conductor Type
| Source | Port AA project number and sheet reference | String | 100 | null
| ConduitSystem | describes # and size of conduits and if spare or not | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
ServicePoint | [6 empty] | E-POWR-DEVC
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| METERTYPE | meter type | String | 30 | null
| COMMENTS | additional details | String | 100 | null
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
SupportStructure | [6 empty] | E-POWR-STRC-SUPT
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| OWNER | asset owner from domain list | String | 20 | Owner
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Support_Structure_Subtype
| MATERIAL | construction material | String | 10 | null
| HEIGHT | height of structure | String | 5 | null
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
SurfaceStructure | [6 empty] | E-POWR-STRC-SURF
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| OWNER | asset owner from domain list | String | 20 | Owner
| MATERIAL | construction material | String | 5 | null
| PEDESTALTYPE | pedestal type from domain list | String | 3 | Pedestal Type
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Surface_Structure_Subtype
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
SwitchingFacility | [6 empty] | E-POWR-SWCH
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| OWNER | asset owner from domain list | String | 20 | Owner
| OPERATINGVOLTAGE | voltage from domain list | Integer | 4 | Switch Operating Voltage
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Switching_Facility_Subtype
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
Transformer | [6 empty] | E-POWR-XFMR
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| AMPRATING | Amp rating | String | 20 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| COMMENTS | additional details | String | 100 | null
| ELECTRICTRACEWEIGHT | trace weight | Integer | 4 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Transformer_Subtype
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null
UndergroundStructure | [6 empty] | E-POWR-STRC-UGND
Feature Type = Point | CREATIONUSER | contractor company name | String | 50 | null
| SUBTYPECD | used for data symbology, must select a valid subtype from the list | Integer | 4 | null | Underground_Structure_Subtype
| MATERIAL | construction material | String | 20 | null
| STRUCTURESIZE | size of structure | String | 20 | null
| STRUCTURETYPE | structure type from domain list | String | 20 | UG Structure Type
| COMMENTS | additional details | String | 100 | null
| CONSTRUCTIONSTATUS | construction status from domain list | Integer | 4 | Construction Status
| INSTALLATIONDATE | date installed | Date | 8 | null
| OWNER | asset owner from domain list | String | 12 | Owner
| POINT_X | x coordinate | Double | 8 | null
| POINT_Y | y coordinate | Double | 8 | null
| SOURCE | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| DATECREATED | date contractor added new feature (today) | Date | 10 | null
| CONFIDENCE_LEVEL | SUE quality level (QL-A - QL-D) | Text | 50 | null

## Sewer
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
ssCleanOut | [6 empty] | C-SSWR-FTTG
Feature Type = Point | ACCESSMAT | construction material from domain list | String | 20 | piPipeMaterial
| ACCESSTYPE | access type from domain list | String | 20 | piAccessType
| INTDEPTH | interior depth | Double | 8 | null
| DEVICETYPE | cleanout type from domain list | String | 30 | piCleanoutTypes
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| ACCESSDIAM | access diameter from domain list | Double | 8 | piAccessDiameter
| DESCRIPT | additional details | String | 60 | null
| MH_TYPE | manhole type | String | 25 | null
| MH_STATUS | manhole condition | String | 15 | null
| Comments | additional details | String | 50 | null
| INV_ELEV | invert elevation | Double | 8 | null
| DEPTH_RIM | depth of rim | Double | 8 | null
| SURG_DEPTH | surge depth | Double | 8 | null
| X | x coordinate | Double | 8 | null
| Y | y coordinate | Double | 8 | null
| horzACC | horizontal accuracy from domain list | String | 15 | locAccuracy
| vertAcc | vertical accuracy from domain list | String | 15 | locAccuracy
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssDischargePoint | [6 empty] | C-SSWR-DISC
Feature Type = Point | DISCHRGTYP | type of discharge from domain list | String | 50 | piDischargePointType
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| DESCRIPT | additional details | String | 60 | null
| MH_TYPE | manhole type | String | 25 | null
| MH_STATUS | manhole condition | String | 15 | null
| NOTES | additional details | String | 50 | null
| INV_ELEV | invert elevation | Double | 8 | null
| DEPTH_RIM | depth of rim | Double | 8 | null
| SURG_DEPTH | surge depth | Double | 8 | null
| X | x coordinate | Double | 8 | null
| Y | y coordinate | Double | 8 | null
| horzAcc | horizontal accuracy from domain list | String | 15 | locAccuracy
| vertAcc | vertical accuracy from domain list | String | 15 | locAccuracy
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssGravityMain | [6 empty] | C-SSWR-MAIN-PIPE
Feature Type = Line | INSTALLDATE | date of install | Date | 8 | null
| MATERIAL | construction material from domain list | String | 20 | piPipeMaterial
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| FROMMH | from manhole | String | 11 | null
| TOMH | to manhole | String | 11 | null
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| DOWNELEV | downslope elevation | Double | 8 | null
| UPELEV | upslope elevation | Double | 8 | null
| SLOPE | % slope | Double | 8 | null
| DESCRIPT | additional details | String | 60
| sMATERIAL | construction material | String | 32
| CCTVNOTES | CCTV Notes | String | 50
| CCTVDATE | CCTV Date | Date | 8
| Comments | additional details | String | 50
| CIP_ID | CIP ID | String | 50
| CIP_PHASE | CIP Phase | SmallInteger | 2
| ROUGHNESS | Roughness value | Double | 8
| X | x coordinate | Double | 8
| Y | y coordinate | Double | 8
| STATUS | construction status from domain list | Integer | 4
| Source | Port AA project number and sheet reference | String | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100
| New_Exist | enter default value of New | String | 100
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssManhole | [6 empty] | C-SSWR-MHOL
Feature Type = Point | INSTALLDATE | date of install | Date | 8 | null
| INVERTELEV | invert elevation | Double | 8 | null
| RIMELEV | rim elevation | Double | 8 | null
| CVTYPE | cover type from domain list | String | 20 | piManholeCoverType
| WALLMAT | wall material from domain list | String | 25 | piPipeMaterial
| MHTYPE | manhole type from domain list | String | 15 | piManholeType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| MH_TYPE | manhole type from domain list | String | 25
| MH_STATUS | manhole status from domain list | String | 15
| Comments | additional details | String | 50
| INV_ELEV | invert elevation from domain list | Double | 8
| DEPTH_RIM | depth of rim from domain list | Double | 8
| SURG_DEPTH | surge depth from domain list | Double | 8
| X | x coordinate | Double | 8
| Y | y coordinate | Double | 8
| horzAcc | horizontal accuracy from domain list | String | 15
| vertAcc | vertical accuracy from domain list | String | 15
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Source | Port AA project number and sheet reference | String | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100
| New_Exist | enter default value of New | String | 100
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssNetworkStructure | [6 empty] | C-SSWR-NTWK
Feature Type = Point | STRUCTTYPE | structure type from domain list | String | 30 | ssNetworkStructureType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| DESCRIPT | additional details | String | 60 | null
| Comments | additional details | String | 50 | null
| CIP_ID | CIP ID | String | 50 | null
| CIP_PHASE | CIP Phase | SmallInteger | 2 | null
| RIMELEV | Roughness value | Double | 8 | null
| INV_ELEV | invert elevation | Double | 8 | null
| MAX_DEPTH | max depth | Double | 8 | null
| INIT_DEPTH | interior depth | Double | 8 | null
| X | x coordinate | Double | 8 | null
| Y | y coordinate | Double | 8 | null
| horzAcc | horizontal accuracy from domain list | String | 15 | locAccuracy
| vertAcc | vertical accuracy from domain list | String | 15 | locAccuracy
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssPressurizedMain | [6 empty] | C-SSWR-PRSS-PIPE
Feature Type = Line | INSTALLDATE | date of install | Date | 8 | null
| MATERIAL | construction material from domain list | String | 20 | piPipeMaterial
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| DESCRIPT | additional details | String | 60
| sMATERIAL | construction material | String | 32
| TOMH | to manhole | String | 15
| FROMMH | from manhole | String | 15
| CCTVNOTES | CCTV Notes | String | 50
| CCTVDATE | CCTV Date | Date | 8
| Comments | additional details | String | 50
| CIP_ID | CIP ID | String | 50
| CIP_PHASE | CIP Phase | SmallInteger | 2
| SLOPE | % slope | Double | 8
| ROUGHNESS | Roughness value | Double | 8
| X | x coordinate | Double | 8
| Y | y coordinate | Double | 8
| STATUS | construction status from domain list | Integer | 4
| Source | Port AA project number and sheet reference | String | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100
| New_Exist | enter default value of New | String | 100
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssSystemValve | [6 empty] | C-SSWR-INST-VLVE
Feature Type = Point | DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| VALVETYPE | valve type from domain list | String | 30 | piSystemValveType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| DESCRIPT | additional details | String | 60 | null
| MH_TYPE | manhole type | String | 25 | null
| Comments | additional details | String | 50 | null
| INV_ELEV | invert elevation | Double | 8 | null
| DEPTH_RIM | depth of rim | Double | 8 | null
| SURG_DEPTH | surge depth | Double | 8 | null
| X | x coordinate | Double | 8 | null
| Y | y coordinate | Double | 8 | null
| horzAcc | horizontal accuracy from domain list | String | 15 | locAccuracy
| vertAcc | vertical accuracy from domain list | String | 15 | locAccuracy
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssLateralLine | [6 empty] | C-SSWR-SERV-PIPE
Feature Type = Line | INSTALLDATE | date of install | Date | 8 | null
| MATERIAL | construction material | String | 20 | null
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| OWNEDBY | asset owner | Short Integer
| MAINTBY | asset manager from domain list | SmallInteger | 2 | AssetManager
| DESCRIPT | additional details | String | 60 | null
| TOMH | to manhole | String | 15 | null
| CCTVNOTES | CCTV Notes | String | 50 | null
| CCTVDATE | CCTV Date | Date | 8 | null
| FROMMH | from manhole | String | 15 | null
| Comments | additional details | String | 50 | null
| CIP_ID | CIP ID | String | 50 | null
| CIP_PHASE | CIP Phase | SmallInteger | 2 | null
| SLOPE | % slope | Double | 8 | null
| ROUGHNESS | Roughness value | Double | 8 | null
| X | x coordinate | Double | 8 | null
| Y | y coordinate | Double | 8 | null
| STATUS | construction status from domain list | Integer | 4 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
ssPumpLine | [6 empty] | C-SSWR-PUMP-PIPE
Feature Type = Line | MATERIAL | construction material | String | 20 | piPipeMaterial
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| OWNEDBY | asset owner | Short Integer
| MAINTBY | asset manager from domain list | Short Integer | 2 | AssetManager
| DESCRIPT | additional details | String | 60
| TOMH | to manhole | String | 15
| FROMMH | from manhole | String | 15
| CCTVNOTES | CCTV Notes | String | 50
| CCTVDATE | CCTV Date | Date | 8
| Comments | additional details | String | 50
| CIP_ID | CIP ID | String | 50
| CIP_PHASE | CIP Phase | SmallInteger | 2
| SLOPE | % slope | Double | 8
| ROUGHNESS | Roughness value | Double | 8
| X | x coordinate | Double | 8
| Y | y coordinate | Double | 8
| STATUS | construction status from domain list | Integer | 4
| Source | Port AA project number and sheet reference | String | 100
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100
| New_Exist | enter default value of New | String | 100
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10

## Water
Feature Class | Field Name | Description | Data Type | Length | Domain | Subtype | CAD Layer
wHydrant | [6 empty] | C-DOMW-HYDT
Feature Type = Point | OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| HYD_HEIGHT | hydrant height | Double | 8 | null
| HYD_MANU | hydrant manufacturer | String | 50 | null
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| HGT_ABV_EL | height above base elevation | Double | 8 | null
| HYD_BARREL | hydrant barrel type | String | 20 | null
| HYD_INSTAL | install date | String | 10 | null
| NO_4_5_NOZ | nozzle details | String | 5 | null
| NO_2_5_NOZ | nozzle details | String | 5 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wServiceConnection | [6 empty] | C-DOMW-HYDT-CONN
Feature Type = Point | ACCOUNTID | billing account identifier | String | 30 | null
| METSERVICE | service connection metered? | String | 5 | YesNo
| SERVICETYPE | service connection type from domain list | String | 50 | wServicePointType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| MTR_SZ | meter size | Double | 8 | null
| MTR_DEP | meter depth | Double | 8 | null
| MTR_TYPE | meter type | String | 50 | null
| MANUFACTUR | manufacturer | String | 50 | null
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| HGT_ABV_EL | height above base elevation | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wMain | [6 empty] | C-DOMW-MAIN-PIPE
Feature Type = Line | INSTALLDATE | date of install | Date | 8 | null
| MATERIAL | construction material from domain list | String | 20 | piPipeMaterial
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| WATERTYPE | type of water from domain list | String | 30 | wWaterType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| INST_DATE | install date | Date | 8 | null
| SUBTYPE | used for data symbology, must select a valid subtype from the list | String | 25 | null
| Comments | additional details | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wStandpipes | New Feature Class | [5 empty] | C-DOMW-STAN-PIPE
Feature Type = Point | OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wCurbStopValve | [6 empty] | C-DOMW-DEVC-CURB
Feature Type = Point | DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| VALVETYPE | valve type from domain | String | 30 | piSystemValveType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| VLV_DEPTH | valve depth | Double | 8 | null
| VLV_P_I | valve pressure | String | 50 | null
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wControlValve | [6 empty] | C-DOMW-DEVC-CTRL
Feature Type = Point | DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| VALVETYPE | valve type from domain | String | 30 | piControlValveType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| VLV_DEPTH | valve depth | Double | 8 | null
| VLV_P_I | valve pressure | String | 50 | null
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wLateralLine | [6 empty] | C-DOMW-SERV-PIPE
Feature Type = Line | INSTALLDATE | date of install | Date | 8 | null
| MATERIAL | construction material from domain list | String | 20 | piPipeMaterial
| LINETYPE | lateral type from domain list | String | 30 | wLateralType
| DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| WATERTYPE | type of water from domain list | String | 30 | wWaterType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| INST_DATE | install date | Date | 8 | null
| SUBTYPE | used for data symbology, must select a valid subtype from the list | String | 25 | null
| Comments | additional details | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wBackflowPreventer | New Feature Class | [5 empty] | C-DOMW-DEVC-BACK
Feature Type = Point | DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| VALVETYPE | valve type from domain | String | 30 | piControlValveType
| BFP_TYPE | backflow preventer type | Text | 20
| SUBTYPE | used for data symbology, must select a valid subtype from the list | Text | 15 | wServicePointType
| MANUFACTUR | manufacturer | Text | 50
| MODEL | model type/number | Text | 10
| SN_NUM | serial number | Text | 30
| YR_INSTALL | year installed | Long Integer
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10
wSystemValve | New Feature Class | [5 empty] | C-DOMW-DEVC-SYST
Feature Type = Point | DIAMETER | diameter from domain list | Double | 8 | piPipeDiameter
| VALVETYPE | valve type from domain | String | 30 | piSystemValveType
| OWNEDBY | asset owner from domain list | SmallInteger | 2 | AssetOwner
| VLV_DEPTH | valve depth | Double | 8 | null
| VLV_P_I | valve pressure | String | 50 | null
| STATUS | construction status from domain list | Integer | 4 | Construction Status
| Comments | additional details | String | 100 | null
| X_Coord | x coordinate | Double | 8 | null
| Y_Coord | y coordinate | Double | 8 | null
| HOR_EST_AC | horizontal accuracy | Double | 8 | null
| CONN_NOTES | connection notes | String | 100 | null
| Source | Port AA project number and sheet reference | String | 100 | null
| Source_Type | describes format data came from (CAD, GPS, digitized from paper) | String | 100 | null
| New_Exist | enter default value of New | String | 100 | null
| Sheet_Ref | Sheet number feature appears on as-built drawings | String | 100 | null
| Confidence_Level | SUE quality level (QL-A - QL-D) | String | 50
| DATECREATED | date contractor added new feature (today) | Date | 10

## Domains
Domain Asset Manager
CodedValues | Asset_Manager_Description
-1 | Private
-2 | Other
3 | <Null>
1 | Port of Oakland
Domain Asset Owner
CodedValues | Asset_Owner_Description
-1 | EBMUD
-2 | City of Oakland
-3 | Leased
-4 | Other
1 | Port of Oakland
Domain Backfill Material
CodedValues | Backfill_Material_Description
C | Concrete
SLUR | Slurry
SOIL | Soil
OTH | Other
Domain Cable Count
CodedValues | Cable_Count_Description
1 | Min value
6 | Max value
Domain Condition
CodedValues | Domain_Condition_Description
Excellent | Excellent
Very Good | Very Good
Good | Good
Fair | Fair
Poor | Poor
Very Poor | Very Poor
Unknown | Unknown
Domain Conductor Configuration
CodedValues | Conductor_Configuration_Description
COMP | Compact
HOR | Horizontal
SPA | Spacer
VERT | Vertical
OTH | Other
Domain Conductor Type
CodedValues | Conductor_Type_Description
AER | Aerial Cable
DPLX | Duplex
OPN | Open Wire
QPLX | Quadraplex
TPLX | Triplex
Domain Conduit Type
CodedValues | Conduit_Type_Description
F | Fiber
P | Primary
S | Secondary
Domain Conduit Material
CodedValues | Conduit_Material_Type
1 | HDPE
2 | PVC
3 | SplitHDPE
4 | SplitPVC
5 | BlackIronPipe
6 | BlackSteelPipe
7 | CastIronPipe
8 | ClaySewerPipe
9 | FlexDuct
10 | SteelCasing
11 | TerraCotta
12 | Wood
13 | Quad
14 | Unknown
15 | NotApplicable
Domain Construction Status
CodedValues | Construction_Status_Type
0 | Proposed
5 | Existing
10 | Waiting For Staking
15 | Staked
20 | Proposed Retired
25 | Proposed Abandoned
30 | Retired
35 | Abandoned
100 | In Service
-1 | Unknown
Domain Control Valvue Type
CodedValues | Control_Valve_Type_Description
Altitude | Altitude
Blowoff | Blowoff
Combination | Combination
Vacuum | Vacuum
Air Control | Air Control
Air Gap | Air Gap
Air Release | Air Release
Atmospheric Vacuum | Atmospheric Vacuum
Backflow Control | Backflow Control
Double Check | Double Check
Pressure Vacuum | Pressure Vacuum
Pressure Reducer | Pressure Reducer
Simple Check | Simple Check
Vacuum Breaker | Vacuum Breaker
Vacuum Release | Vacuum Release
Surge Relief | Surge Relief
Snubber | Snubber
CLA | CLA
RPZ | Reduced Pressure Zone
Other | Other
Unknown | Unknown
Domain Electric Line Voltage Type
CodedValues | Electric_Line_Voltage_Description
10 | 120 Volts
20 | 120/208 Volts
30 | 120/240 Volts
40 | 240/480 Volts
50 | 277/480 Volts
60 | 480 Volts
120 | 4.16 kV Grounded Y
160 | 7.2 kV Grounded Y
210 | 12.5 kV Grounded Y
230 | 13.2 kV Grounded Y
270 | 13.8 kV Grounded Y
340 | 24.9 kV Grounded Y
380 | 34.5 kV Grounded Y
80 | 2400 V Delta
110 | 4160 V Delta
150 | 7200 V Delta
260 | 13800 V Delta
Domain Gas Facility Status
CodedValues | Gas_Facility_Status_Description
Proposed | Proposed
Proposed Retired | Proposed Retired
Active | Active
Inactive | Inactive
Retired | Retired
Removed | Removed
Abandoned | Abandoned
Domain Gas Pipe Service Material
CodedValues | Gas_Pipe_Service_Material_Description
Bare Steel | Bare Steel
Cast Iron | Cast Iron
Coated Steel | Coated Steel
Copper | Copper
Plastic | Plastic
Misc Steel | Misc Steel
Wrap Weld Steel | Wrap Weld Steel
Domain Gas Valve Diameter
CodedValues | Gas_Valve_Diameter_Description
0.25 | 1/4"
0.38 | 3/8"
0.5 | 1/2"
0.63 | 5/8"
0.75 | 3/4"
1 | 1"
1.125 | 1 1/8"
1.25 | 1 1/4"
1.375 | 1 3/8"
1.5 | 1 1/2"
1.875 | 1 7/8"
2 | 2"
2.5 | 2 1/2"
3 | 3"
4 | 4"
5 | 5"
5.5 | 5 1/2"
6 | 6"
7 | 7"
8 | 8"
10 | 10"
12 | 12"
14 | 14"
16 | 16"
18 | 18"
20 | 20"
24 | 24"
26 | 26"
30 | 30"
0 | Unknown
Domain Gas Valve Manufacturer
CodedValues | Gas_Valve_Manufacturer_Description
Apollo | Apollo
Balon | Balon
Dresser | Dresser
Central Plastic | Central Plastic
JOMAR | JOMAR
Kerotest | Kerotest
Mueller | Mueller
Rockford | Rockford
Other | Other
Unknown | Unknown
Domain Gas Valve Material
CodedValues | Gas_Valve_Material_Description
Cast Iron | Cast Iron
Plastic | Plastic
Steel | Steel
Unknown | Unknown
Domain Gas Valve Rating
CodedValues | Gas_Valve_Rating_Description
7 w.c. | 7 w.c.
8-10 psig | 8-10 psig
20-25 psig | 20-25 psig
50-55 psig | 50-55 psig
70-76 psig | 70-76 psig
70-95 psig | 70-95 psig
125 psig or less | 125 psig or less
175 psig or less | 175 psig or less
215 psig or less | 215 psig or less
250 psig or less | 250 psig or less
400 psig or less | 400 psig or less
450 psig or less | 450 psig or less
500 psig or less | 500 psig or less
550 psig or less | 550 psig or less
600 psig or less | 600 psig or less
650 psig or less | 650 psig or less
Unknown | Unknown
Domain Gas Valve Type
CodedValues | Gas_Valve_Type_Description
Ball Valve | Ball Valve
Check | Check
Curb Stop | Curb Stop
Curb Valve Tee | Curb Valve Tee
Excess Flow | Excess Flow
Gate Valve | Gate Valve
Other/Not Indicated | Other/Not Indicated
Plug Valve | Plug Valve
Poly | Poly
Reducing Port Valve | Reducing Port Valve
Regular | Regular
Stacked | Stacked
Stop Cock | Stop Cock
V-Ball | V-Ball
Wafer | Wafer
Unknown | Unknown
Domain Item Type CD
CodedValues | Item_Type_CD_Description
HP100CE | HP100CE
HP100CM | HP100CM
HP100CU | HP100CU
HP100DM | HP100DM
HP100DU | HP100DU
HP150CE | HP150CE
HP150CM | HP150CM
HP150CU | HP150CU
HP150DM | HP150DM
HP150DU | HP150DU
HP200CM | HP200CM
HP200CU | HP200CU
HP200DM | HP200DM
HP200DU | HP200DU
HP250CM | HP250CM
HP250CU | HP250CU
HP250DM | HP250DM
HP250DU | HP250DU
HP400CM | HP400CM
HP400CU | HP400CU
HP400DM | HP400DM
HP400DU | HP400DU
MV1000CE | MV1000CE
MV1000CM | MV1000CM
MV1000CU | MV1000CU
MV1000DM | MV1000DM
MV1000DU | MV1000DU
MV175CE | MV175CE
MV175CM | MV175CM
MV175CU | MV175CU
MV175DM | MV175DM
MV175DU | MV175DU
MV250CE | MV250CE
MV250CM | MV250CM
MV250CU | MV250CU
MV250DM | MV250DM
MV250DU | MV250DU
MV400CE | MV400CE
MV400CM | MV400CM
MV400CU | MV400CU
MV400DM | MV400DM
MV400DU | MV400DU
Domain Lateral Type
CodedValues | Lateral_Type_Description
Hydrant | Hydrant
Irrigation | Irrigation
Other | Other
Unknown | Unknown
Domestic | Domestic
Fire | Fire
Industrial | Industrial
Commercial | Commercial
Domain Location Accuracy
CodedValues | Loc_accuracy_Description
sub centimeter | sub centimeter
sub meter | sub meter
decimeter | decimeter
meter | meter
centimeter | centimeter
Domain Mains Type
CodedValues | Mains_Type_Description
Distribution | Distribution
Transmission | Transmission
SubTransmission | SubTransmission
Domain Manhole Cover Type
CodedValues | Manhole_Cover_Type_Description
Standard W/ Lock | Standard W/ Lock
Standard W/ Ears | Standard W/ Ears
Non-District | Non-District
Water Tight | Water Tight
27" Diameter | 27" Diameter
42" Diameter | 42" Diameter
Large - Water Tight | Large - Water Tight
Rectangular | Rectangular
Other | Other
Unknown | Unknown
Domain Manhole Type
CodedValues | Pipe_Manhole_Type
STD | Standard
DRP | Drop
SPL | Split
DIV | Diversion
SED | Sedimentation
OTH | Other
UNK | Unknown
Domain Network Structure Type
CodedValues | Network_Structure_Type_Description
Diversion Chamber | Diversion Chamber
Diversion Point | Diversion Point
Junction Chamber | Junction Chamber
Production Well | Production Well
Pump Station | Pump Station
Split Manhole | Split Manhole
Storage Basin | Storage Basin
Tide Chamber | Tide Chamber
Treatment Plant | Treatment Plant
Lift Station | Lift Station
Discharge Structure | Discharge Structure
Unknown | Unknown
Other | Other
Virtual Junction | Virtual Junction
Flow Meter | Flow Meter
Monitoring Well | Monitoring Well
Pump | Pump
Backflow Prevention | Backflow Prevention
Grease Separator | Grease Separator
Sewer Ejector | Sewer Ejector
Air Sally | Air Sally
Domain Neutral Material
CodedValues | Neutral_Material_Description
AAC | All Aluminum Conductor
ACSR | Aluminum Conductor Steel Reinforced
AL | Aluminum
ALCN | Aluminum Concentric Neutral
CU | Copper
CWLD | Copper Weld
HDCU | Hard Drawn Copper
HDBC | Hard Drawn Bare Copper
SDCU | Soft Drawn Copper
STCU | Stranded Copper
STRBC | Stranded Bare Copper
STEL | Steel
CRAPO | Old Steel Wire
XLP | Cross Linked Polyethylene
XLPE | Cross Linked Polyethylene Extended
XLPJ | Cross Linked Polyethylene Jacketed
EPRJ | Ethylene Propylene Rubber Jacketed
NA | Not Applicable
Domain Neutral Size
CodedValues | Neutral_Size_Description
36526 | 1/0 AWG
1/3CN | 1/3 Concentric Neutral
1/6CN | 1/6 Concentric Neutral
36557 | 2/0 AWG
36586 | 3/0 AWG
36617 | 4/0 AWG
2 | 2 AWG
4 | 4 AWG
6 | 6 AWG
8 | 8 AWG
250 | 250 MCM
300 | 300 MCM
336.4 | 336.4 MCM
350 | 350 MCM
500 | 500 MCM
556.4 | 556.4 MCM
750 | 750 MCM
795 | 795 MCM
1000 | 1000 MCM
FULL | Full Concentric Neutral
NA | Not Applicable
Domain Owner
CodedValues | Owner_Description
BPUD | Benton PUD
BPA | Bonneville Power
RICH | Richland
SPRINT | Sprint
VERIZON | Verizon
OTHER | Other
BB | Broadband
Domain Pedestal Type
CodedValues | Pedestal_Type_Description
IT | Irrigation Timer
SF | School Flasher
PK | Parks
RR | RR Signal
CP | Cable Power Supply
PP | Phone Power Supply
OP | Other Power Supply
Domain Pipe Access Diameter
CodedValues | Pipe_Access_Diameter_Description
0 | Min value
72 | Max value
Domain Pipe Access Type
CodedValues | Pipe_Access_Type_Description
Door | Door
Grate | Grate
Cover | Cover
Hand | Hand
Lid | Lid
Unknown | Unknown
Domain Pipe Cleanout Type
CodedValues | Pipe_Cleanout_Types_Description
Cleanout | Cleanout
Flushing Structure | Flushing Structure
Lamp Hole | Lamp Hole
Other | Other
Unknown | Unknown
Domain Pipe Control Valve Type
CodedValues | Pipe_Control_Valve_Type_Description
Altitude | Altitude
Blowoff | Blowoff
Combination | Combination
Vacuum | Vacuum
Air Control | Air Control
Air Gap | Air Gap
Air Release | Air Release
Atmospheric Vacuum | Atmospheric Vacuum
Backflow Control | Backflow Control
Double Check | Double Check
Pressure Vacuum | Pressure Vacuum
Pressure Reducer | Pressure Reducer
Simple Check | Simple Check
Vacuum Breaker | Vacuum Breaker
Vacuum Release | Vacuum Release
Surge Relief | Surge Relief
Snubber | Snubber
CLA | CLA
RPZ | Reduced Pressure Zone
Other | Other
Unknown | Unknown
Domain Pipe Diameter
CodedValues | Pipe_Diameter_Description
0.75 | 3/4"
1 | 1"
1.25 | 1 1/4"
1.5 | 1 1/2"
2 | 2"
2.5 | 2 1/2"
3 | 3"
4 | 4"
6 | 6"
5 | 5"
8 | 8"
10 | 10"
12 | 12"
14 | 14"
15 | 15"
16 | 16"
18 | 18"
20 | 20"
21 | 21"
24 | 24"
27 | 27"
30 | 30"
36 | 36"
40 | 40"
42 | 42"
48 | 48"
54 | 54"
60 | 60"
66 | 66"
72 | 72"
75 | 75"
0 | Unknown
-1 | Other
Domain Pipe Discharge Point Type
CodedValues | Domain_Pipe_Discharge_Point_Type_Description
Outfall | Outfall
Overflow | Overflow
Standard Outlet | Standard Outlet
Other | Other
Unknown | Unknown
Domain Pipe Discharge Type
CodedValues | Pipe_Discharge_Type_Description
Outfall | Outfall
Overflow | Overflow
Standard Outlet | Standard Outlet
Other | Other
Unknown | Unknown
Domain Pipe Inlet Type
CodedValues | Pipe_Inlet_Type_Description
Catchbasin | Catchbasin
Rear Yard | Rear Yard
Roof | Roof
Open Lid Manhole | Open Lid Manhole
Closed Lid Manhole | Closed Lid Manhole
Standard | Standard
Other | Other
Unknown | Unknown
Deck Drain | Deck Drain
Drainage Inlet | Drainage Inlet
Curb Inlet | Curb Inlet
Domain Pipe Lining Method
CodedValues | Pipe_Lining_Method_Description
CP | Cured in Place
FF | Fold and Form or Deform/Reform
SN | Segmented Panel
SP | Segmented Pipe
SW | Spiral Wound
OTH | Other
NONE | None
Domain Pipe Material
CodedValues | Pipe_Material_Description
ABS | ABS Plastic
AC | Asbestos Cement
ASP | Asphalt
BR | Brick
CAS | Cast Iron
Cl | Clay
CT | Clay Tile
CP | Concrete (Non-Reinforced)
CSB | Concrete Segments (Bolted)
CSU | Concrete Segments (Unbolted)
CMP | Corrugated Metal
COP | Copper
CIPP | Cured In Place
DIP | Ductile Iron
FRP | Fiberglass Reinforced
EARGEO | Earth & Geotextile
EAR | Earthen
GEO | Geotextile
GP | Galvanized Pipe
GRC | Glass Reinforced Cement
OB | Pitch Fiber (Orangeburg)
PSC | Plastic/Steel Composite
PE | Polyethylene
PP | Polypropylene
PVC | Polyvinyl Chloride
PCCP | Pre-Stressed Concrete Cylinder
RCP | Reinforced Concrete
RPM | Reinforced Plastic (Truss)
SB | Segmented Block
SP | Steel
TTE | Transite
VCP | Vitrified Clay
WD | Wood
OTH | Other
UNK | Unknown
BMP | Brick Masonry
HDPE | High Density Polyethylene
Domain Pipe System Valve Type
CodedValues | Pipe_System_Valve_Type_Description
Ball | Ball
Butterfly | Butterfly
Cone | Cone
Gate | Gate
Plug | Plug
Roundway | Roundway
Other | Other
Unknown | Unknown
Domain Pipe Type
CodedValues | Pipe_Type_Description
Pinchable | Pinchable
Non-Pinchable | Non-Pinchable
Domain Secondary Operating Voltage
CodedValues | Secondary_Operating_Voltage_Description
10 | 120 Volts
20 | 120/208 Volts
30 | 120/240 Volts
50 | 277/480 Volts
60 | 480 Volts
Domain Switch Operating Voltage
CodedValues | Switch_Operating_Voltage_Description
100 | 4.16 kV
250 | 13.8 kV
330 | 24.9 kV
370 | 34.5 kV
Domain Terminal Type
CodedValues | Terminal_Type_Description
1 | Fixed
2 | ReadyAccess
3 | CrossConnect
Domain UG Structure Type
CodedValues | UG_Structure_Type_Description
ABOVE | Above
BELOW | Below
Domain ULS Encasement Type
CodedValues | ULS_Encasement_Type_Description
BF | Back Fill
CCRT | Concrete
UNK | Unknown
NA | Not Applicable
Domain Service Point Type
CodedValues | Service_Point_Type_Description
Domestic | Domestic
Commercial | Commercial
Industrial | Industrial
Irrigation | Irrigation
Fire | Fire
Fire Bypass | Fire Bypass
Other | Other
Unknown | Unknown
Domain Water Type
CodedValues | Water_Type_Description
Potable | Potable Water
Raw | Raw Water
Reclaimed | Reclaimed Water
Salt | Salt Water
Storm | Storm Runoff
Treated | Treated Water
Domain Yes No
CodedValues | Yes_No_Description
Yes | Yes
No | No

## Subtypes
Electical_ConduitSystem
GIS Feature = Electric Conduit System
Use coded value in object data
NAME | CODED VALUES | DESCRIPTION
SubtypeCD | 1 | Duct Bank
| 2 | Trench
Electric_Station
GIS Feature = Electric Station Point
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 1 | Main Station
| 2 | Net Station
| 3 | Substation
Electric_Primary_Overhead
GIS Feature = PriOH
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCD | 1 | Single Phase Primary Overhead
| 2 | Two Phase Primary Overhead
| 3 | Three Phase Primary Overhead
Electric_Primary_Underground
GIS Feature = PriUG
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 1 | Single Phase Primary Underground
| 2 | Two Phase Primary Underground
| 3 | Three Phase Primary Underground
Electric_Secondary_Overhead
GIS Feature = SecOH
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 4 | Single Phase Secondary Overhead
| 5 | Three Phase Secondary Overhead
| 6 | Overhead Streetlight Conductor
Electric_Secondary_Underground
GIS Feature = SecUG
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 3 | Single Phase Secondary Underground
| 4 | Three Phase Secondary Underground
| 5 | Underground Streetlight Conductor
Electric_Support_Structure
GIS Feature = SupportStructure
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 2 | Non-Wood Power Pole
| 3 | Wood Power Pole
| 4 | Non-Wood Street Light Pole
| 5 | Wood Street Light Pole
| 6 | Tower
Electric_Surface_Structure
GIS Feature = SurfaceStructure
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 1 | Enclosure
| 2 | Non-Electric Enclosure
| 4 | Pedestal
| 5 | Customer Secondary Pedestal
| 6 | Customer Secondary Cabinet
| 7 | Fiber Pedestal
| 8 | Customer Fiber Cabinet
Electric_Switching_Facility
GIS Feature = SwithcingFacility
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 1 | Auto Transfer Enclosure
| 3 | Fuse Cabinet
| 4 | Pad-Mounted Switchgear
Electric_Transformer
GIS Feature = Transformer
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubTypeCD | 2 | Single Phase Overhead
| 3 | Single Phase Underground
| 4 | Two Phase Overhead
| 5 | Two Phase Underground
| 6 | Three Phase Overhead
| 7 | Three Phase Underground
| 8 | Step
| 9 | Power Transformer
| 10 | Submersible
Electric_UndergroundStructure
GIS Feature = Underground_Structure
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCD | 1 | Handhole
| 2 | Manhole
| 3 | Transformer Pad
| 4 | TransformerVault
| 5 | Vault
| 6 | Fiber Hand Hole
| 7 | Fiber Manhole
| 8 | Fiber Vault
| 9 | Junction Box
| 10 | Pullbox
Telecom_Conduit
GIS Feature = Conduit
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCode | 1 | Duct Bank
| 2 | Trench
Telecom_Copper_Cable
GIS Feature = CopperCable
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCode | 1 | UG Copper Cable
| 2 | OH Copper Cable
Telecom_Fiber_Cable
GIS Feature = FiberCable
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCode | 1 | UG Fiber Cable
| 2 | OH Fiber Cable
Telecom_Pole
GIS Feature = Pole
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCode | 1 | Wood
| 2 | Non-Wood
| 3 | H-Frame
| 4 | Tower
| 5 | Other
Telecom_Structure
GIS Feature = Structure
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCode | 1 | Manhole
| 2 | Handhole
| 3 | Pullbox
| 4 | Vault
Gas_Main
GIS Feature = Mains
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
Material | 1 | Bare Steel
| 2 | Cast Iron
| 3 | Coated Steel
| 4 | Copper
| 5 | Plastic PE
| 6 | Wrought Iron
| 7 | Ductile Iron
| 8 | Dresser Coupled Steel
| 9 | Wrap Weld Steel
| 10 | Plastic PVC
| 11 | Steel
| 12 | Unknown
Gas_Service
GIS Feature = Service
Use coded value in object data
NAME | CODEDVALUES | DESCRIPTION
SubtypeCD | 1 | Service Line
| 2 | Yard Line